### IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

Monitoring Requirements Not Met for City of Loma Linda

Our water system failed to monitor its treatment plant effluent as required for trichloroethylene, 1,2,3-trichloropropane and 1,2-dibromo-3-chloropropane during the month of September, 2022 and, therefore, was in violation of the regulations. Even though this failure was not an emergency, as our customers, you have a right to know what you should do, what happened, and what we did to correct this situation.

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. For the month of September 2022, we did not monitor or test or did not complete all monitoring or testing for trichloroethylene, 1,2,3-trichloropropane and 1,2-dibromo-3-chloropropane (volatile organic chemicals – VOC’s) at our treatment plant effluent. All individual lag vessels which supply the effluent were sampled and were non detect for those contaminants. Therefore, no water was served at any time that did not meet drinking water standards. This is a procedural violation for VOC monitoring only, at no time was the quality of your drinking water compromised.

What should I do?

- There is nothing you need to do at this time.

- The table below lists the contaminants we did not properly test for during the period in question, how many samples we are required to take and how often, how many samples we took, when samples should have been taken, and the date on which follow-up samples were taken.

| Contaminant | Required Sampling Frequency | Number of Samples Taken | When All Samples Should Have Been Taken | When Samples Were or Will Be Taken |
| --- | --- | --- | --- | --- |
| Trichloroethylene, 1,2,3-trichloropropane, 1,2-dibromo-3-chloropropane | monthly | 0 | September 2022 | October 2022 |

#### What happened?  What is being done?

Sampling has been completed. Samples taken from these sources prior and post to September were non-detectable for all three contaminants.

For more information, please contact Russ Handy at 909-799-4420 or Kirk Mayo at 909-799-4422.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by The City of Loma Linda.

State Water System ID#:3610013.  Date to be distributed by: 3-01-2023.